## DC Mumbai
S.No | Item Description | Qty | Units | Unit Rate |  | Amount
|  |  |  | OTC | ARC | OTC | ARC
1 | Rack space as per TIA-942 - Designed for 12 KW Server Rack nameplate rated power with Bundled Power with N +N Active power source with 2 Nos of 3 phase 32 Amps/ 64Amps Active Industrial standard socket provision, N+ N DG sets and N +1 cooling system. CCTV with No blind spots (90 days retention ).All the IT/NW equipments should be dual powered | 4 | Nos
2 | Supply of Server Rack 42U cabinet with double door (1000 x 1200mm) | 4 | Nos
3 | Server /IT Rack mount power distribution unit, 3Ph, 400V, 50/60Hz 32A/Ph, Zero U standard with 24 X C13 & 6 X C19, 16A MCB X 6 Circuits -/Bottom feed-3Mt/ Black / Inlet Plug . | 8 | Nos
4 | Contiguous Rack Reservation space | 2 | Nos
5 | MS powder coated cage for 4 Racks from true floor to true ceiling support will be taken from false flooring with Access control system with Dual Authentication reader in entry and Proximity card reader for exit | 1 | Lot
6 | CCTV Camera inside the cage in hot and cold aisle and at the cage entrance providing coverage with no blind spots.-90 Days retention at Bidder's Servers. Customer will provision HD media to Bidder's team to take recordings if required. | 1 | Lot
7 | Cold aisle Containment | 1 | Lot
8 | Rack ATS, 230V, 32A, IEC 309 in, (16) C13 (2) C19 out | 1 | Nos
9 | Additional 32 A Single phase power circuit for ATS | 2 | Nos
10 | Copper Cross Connect |  | Rate Only
11 | Fiber Cross Connect |  | Rate Only
12 | Basic RHS Support | 1 | Hour
13 | PIM-PAM solution (for 20 resources) | 20 | Rate Only
14 | Anti-Virus solution (for 300 servers DC+DR) | 300 | Rate Only
15 | P2P link from DC to DR site (with HA 60mbps) | 60 | Rate Only
16 | Dedicated seat in a shared Office Space | 2 | Rate Only
Total | [5 empty] | 0 | 0
Grand Total | [6 empty] | 0

## DR Bangalore-Hyd
S.No | Item Description | Qty | Units | Unit Rate |  | Amount
|  |  |  | OTC | ARC | OTC | ARC
1 | Rack space as per TIA-942 - Designed for 12 KW Server Rack nameplate rated power with Bundled Power with N +N Active power source with 2 Nos of 3 phase 32 Amps/ 64Amps Active Industrial standard socket provision, N+ N DG sets and N +1 cooling system. CCTV with No blind spots (90 days retention ).All the IT/NW equipments should be dual powered | 4 | Nos
2 | Supply of Server Rack 42U cabinet with double door (1000 x 1200mm) | 4 | Nos
3 | Server /IT Rack mount power distribution unit, 3Ph, 400V, 50/60Hz 32A/Ph, Zero U standard with 24 X C13 & 6 X C19, 16A MCB X 6 Circuits -/Bottom feed-3Mt/ Black / Inlet Plug . | 8 | Nos
4 | Contiguous Rack Reservation space | 2 | Nos
5 | MS powder coated cage for 4 Racks from true floor to true ceiling support will be taken from false flooring with Access control system with Dual Authentication reader in entry and Proximity card reader for exit | 1 | Lot
6 | CCTV Camera inside the cage in hot and cold aisle and at the cage entrance providing coverage with no blind spots.-90 Days retention at Bidder's Servers. Customer will provision HD media to Bidder's team to take recordings if required. | 1 | Lot
7 | Cold aisle Containment | 1 | Lot
8 | Rack ATS, 230V, 32A, IEC 309 in, (16) C13 (2) C19 out | 1 | Nos
9 | Additional 32 A Single phase power circuit for ATS | 2 | Nos
10 | Copper Cross Connect |  | Rate Only
11 | Fiber Cross Connect |  | Rate Only
12 | Basic RHS Support | 1 | Hour
Total
Grand Total